## Start screen

After powering the system, the display will become active and print out a start message, containing the type of assemblage and version number.

For tesla repair repair set:

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | T | e | s | l | a |  | r | e | p | a | i | r |  |  |  |  |  |  |  |  |

A full start message on display, containing the system version number, will look like:

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | T | e | s | l | a |  | r | e | p | a | i | r |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  | S | W |  | V | . |  | 1 | . | 0 | . | 0 | . | 0 |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

There is no user-action needed at this point – the system will switch to the main menu as soon as the system is fully booted and functional.

## Main menu

After booting, the system switches to the main menu.

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | T | e | s | l | a |  | r | e | p | a | i | r |  |  |  |  |  |  |  |  |
| 2 | > |  | 1 | . | T | u | b | e |  | r | e | p | a | i | r |  |  |  |  |  |
| 3 |  |  | 2 | . | A | d | m | i | n | i | s | t | r | a | t | o | r |  |  |  |
| 4 |  |  | 3 | . | C | a | l | i | b | r | a | t | i | o | n |  |  |  |  |  |

Note: The item 2 and 3 are PIN protected.

| 1-3 | Select item 1-3 respectively |
| --- | --- |
| ↑ | Move cursor up one line |
| ↓ | Move cursor down one line |
| ENT | Select currently current item |
| others | No function |

### Tesla repair - Tube repair menu

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | T | u | b | e |  | r | e | p | a | i | r |  |  |  |  |  |  |  |  |  |
| 2 | > |  | 1 | . | S | e | l | e | c | t |  | p | r | e | s | e | t |  |  |  |
| 3 |  |  | 2 | . | S | t | a | r | t |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| 1-2 | Select item 1-2 respectively |
| --- | --- |
| ↑ | Move cursor up one line |
| ↓ | Move cursor down one line |
| ENT | Select currently current item |
| X | Leave current menu level and return to main menu |
| others | No function |

#### Select preset menu

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | S | e | l | e | c | t |  | p | r | e | s | e | t |  |  |  |  |  |  |  |
| 2 | > |  | 1 | . | P | r | e | s | e | t |  | 1 |  |  |  |  |  |  |  |  |
| 3 |  |  | 2 | . | P | r | e | s | e | t |  | 2 |  |  |  |  |  |  |  |  |
| 4 |  |  | 3 | . | P | r | e | s | e | t |  | 3 |  |  |  |  |  |  |  |  |

The screen continues to item “9.Preset 9”.

| 1-9 | Select item 1-9 respectively and return to tube repair menu |
| --- | --- |
| ↑ | Move cursor up one line |
| ↓ | Move cursor down one line |
| → | Go to preset preview menu of the current currently under the cursor |
| ENT | Select preset currently under the cursor and return to tube repair menu |
| X | Leave current menu level and return to tube repair menu |
| others | No function |

Note: The system will always assume preset1 selected when no other selection is done.

#### Preset preview screen

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | P | r | e | s | e | t |  | X |  | i | n | f | o |  |  |  |  |  |  |  |
| 2 | S | t | a | r | t | : |  |  |  | 1 | 2 | 3 | m |  |  |  | 1 | 2 | 3 | m |
| 3 | T | i | m | e | : |  |  |  |  | 1 | 2 | 3 | m |  |  |  | 1 | 2 | 3 | m |
| 4 | V | o | l | t | : |  |  | 1 | 2 | 3 | 4 | 5 | m |  | 1 | 2 | 3 | 4 | 5 | m |

Where ‘X’ is the number of the preset that has been selected for preview.

| ← | Go back select preset menu |
| --- | --- |
| X | Go back select preset menu |
| others | No function |

#### Start repair menu

##### Error messages based on safety

Before starting the repair treatment, it will be verified that the cover of the drawer is closed correctly. For safety reason the cover must be closed before the repair treatment can be started.

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  | ! | ! | E | R | R | O | R | ! | ! |  |  |  |  |  |  |
| 2 |  |  |  |  | C | O | V | E | R |  | O | P | E | N |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  | H | i | t |  | X |  | t | o |  | c | o | n | t | i | n | u | e |  |

| X | Acknowledge error and return to main menu |
| --- | --- |
| others | No function |

Note: it is not sufficient to close the cover. The system will only react to the X key and return to the main menu. Closing the cover is, however, mandatory before starting a new repair.

##### Repair in progress

When all conditions are met, the repair treatment starts. The display now acts as feedback

| / | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | X |  |  | h | h | : | m | m | : | s | s |  | t | o | t | a | l |  |  |  |
| 2 |  |  |  | h | h | : | m | m | : | s | s |  | r | e | m | a | i | n |  |  |
| 3 |  |  |  |  |  |  |  |  |  | R | 2 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  | 1 | 2 | 3 | 4 | V |  |  |  |  |  |  |  |

The number in row1/column1 represents the selected preset number.

| X | Pause the current repair action |
| --- | --- |
| others | No function |